# ISPOR Budget-Impact Analysis (BIA) Checklist — Updated

This checklist reflects the revised manuscript and supplement, including the laparoscopy-offset sensitivity and pay‑per‑use (PPU) framing. Scope: NHS England payer perspective; ten-year horizon; cash (undiscounted).

| Checklist item | Response (updated) |
| --- | --- |
| Decision problem & scope | Estimate annual NHS cash outlay and share of NHS budget for scaling soft‑tissue robotic surgery under alternative adoption targets and platform mixes; add a budget‑impact sensitivity that credits displaced laparoscopy. NHS England payer perspective. |
| Population | MIS‑eligible soft‑tissue families identified from HES 2023/24 with defined inclusions/exclusions; appendicectomy override applied to correct under‑capture. |
| Time horizon & budget periods | Ten years; linear ramp to Year 5 then steady state to Year 10; annual reporting aligned to planning cycles. |
| Perspective | NHS payer; cash‑flow (undiscounted) consistent with budgeting practice. |
| Current & future market shares / comparators | Nine robotic scenarios (30/50/90% adoption × Full/Mixed/Hybrid). Comparator in sensitivity is current laparoscopy (utilisation‑adjusted) to report net new investment after offsets. Installed robotic base credited. |
| Clinical inputs | No outcomes priced; clinical context informs MIS fractions only. In the offset sensitivity, 80% of robotic cases displace laparoscopy and 20% derive from open. |
| Resource use & cost categories | Robotic: capital purchases (Years 1–5), rolling replacement (Years 6–10), per‑case consumables. Laparoscopy (sensitivity): £500 consumables per case; installed base sized at 325 cases/stack/year; 10% annual replacement; £200k per stack; £10k annual maintenance. Maintenance/service for robots, estates, financing and staffing are out of scope. |
| Unit costs, price year, currency | Capital A/B/C: £1.8m/£1.2m/£0.25m; consumables £2,000/£1,500/£250; GBP nominal. NHS budget denominator: £192bn in Year 1 with +2% nominal growth per year. |
| Model structure & transparency | Deterministic cohort engine. Required fleet = cases / capacity (ceiling). Replacement from Year 6 (floor). Totals = capex + consumables; % NHS budget computed annually. All steps scripted and reproducible; figures smoothed for presentation only. |
| Validation | Independent rebuild reproduces Year‑5 waypoints within tolerances; internal checks on replacement logic, denominators, and MIS mapping. |
| Uncertainty / sensitivity | Scenario grid (adoption × mix); high‑replacement cadence (20%/yr) stress test; depressed A‑throughput stress test; PPU variant at 90% adoption (re‑profiles cash without materially changing ten‑year totals); laparoscopy‑offset sensitivity (reports net new investment after offsets). |
| Results reporting | Year‑by‑year cash and % NHS budget at Years 5 and 10; cumulative non‑staff spend; gross vs net (after lap offsets) shown side‑by‑side. Offsets cover ~18–45% of robotic spend, while the net share of NHS budget remains small (~0.02–0.17% by Year 10). |
| Transferability & implementation | Trusts should localise MIS fractions, inventories, contracting, capacities, and lap planning prices; realisation of offsets depends on service reconfiguration and contracting. |
| Limitations | Top‑down averages; undiscounted cash; excludes staffing, estates, financing and productivity effects; lap offsets assume proportional release of replacement/maintenance that may not fully materialise locally. Findings are budget‑impact, not cost‑effectiveness. |
| Reproducibility & disclosure | Parameter tables and artefacts archived; scripted code produces all numbers; GAIT transparency statement included; LLM assistance used for orchestration with human oversight. |